机电产品采购国际竞争性招标文件

The Bidding Documents for ICB Procurement of Mechanic & Electronic Products

（第二册）

(Volume Two)

招标编号：1069-224Z20224556

Bid No. 1069-224Z20224556

项目名称：东华大学稳态瞬态荧光光谱仪采购项目

Project name：Procurement project of Steady state transient fluorescence spectrometer of Donghua University

产品名称：稳态瞬态荧光光谱仪

Product Name: Steady state transient fluorescence spectrometer

上海中世建设咨询有限公司

SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD.

中国    上海

Shanghai  China

二零二二年十二月

December 2022

第五章

Section 5

东华大学稳态瞬态荧光光谱仪采购项目

国际招标公告

Procurement project of Steady state transient fluorescence spectrometer of Donghua University

international tender announcement

（招标编号：1069-224Z20224556)

(Bid No. 1069-224Z20224556)

上海中世建设咨询有限公司受招标人委托对下列产品及服务进行国际公开竞争性招标，于2022年12月15日在机电产品招标投标电子交易平台公告。本次招标采用传统招标方式，现邀请合格投标人参加投标。

Shanghai Zhongshi Construction Consultant Co.,Ltd. entrusted by the purchaser, invites sealed bids from eligible suppliers home and abroad for the supply of the following goods and/or service by way of International Competitive Bidding. The tender notice was released on www.chinabidding.com on 2022-12-15

1. 招标条件/ Bidding Conditions

项目概况：用于教学研究等。

Overview： For teaching and research

资金到位或资金来源落实情况：已落实

Source of Funds：Implemented

项目已具备招标条件的说明：已具备

Description of The Prepared Bidding Conditions：Equipped

2. 招标内容：

Bidding Content ：

招标项目编号：1069-224Z20224556

Bid No: 1069-224Z20224556

招标项目名称：东华大学稳态瞬态荧光光谱仪采购项目

Project Name：Donghua University Steady state transient fluorescence spectrometer procurement project

项目实施地点：中国上海市

Place of Implementation：Shanghai China

招标产品列表（主要设备）：

List of Products (The main equipment)

| 序号 / No. | 产品名称 Name of the goods | 数量 Quantity | 简要技术规格 Main Technical Data | 备注 Remarks |
| --- | --- | --- | --- | --- |
| 1 | 稳态瞬态荧光光谱仪 Steady state transient fluorescence spectrometer | 1套/1set | 1 主机要求 1 Host requirements 1.1 系统由光源、参比检测器、反射光路、样品架、单色仪、荧光检测器等部分组成 1.1 The system consists of light source, reference detector, reflection light path, sample rack, monochromator, fluorescence detector, etc 1.1 *全反射光学系统：包括灯室和样品仓，无透镜导致的色差； 1.1 * Total reflection optical system: including lamp chamber and sample chamber, without chromatic aberration caused by lens; 1.2 校正的激发光谱、发射光谱、三维光谱、同步扫描光谱、光度计定量 1.2 Corrected excitation spectrum, emission spectrum, three-dimensional spectrum, synchronous scanning spectrum, photometer quantification | / |

3. 投标人资格要求

Qualification Requirements For Bidder

投标人应具备的资格或业绩：

- 投标人或制造商（如适用）有效的营业执照

A bidder or manufacturer (if applicable) and effective business license

- 本次招标所涉及到的产品若非自主研发生产，投标人须提供制造商针对本项目的授权书

Products relating to the tendering without independent research and development production, the bidder shall provide manufacturer for the project authorization

3）参加本次招标活动前3年内，投标人在经营活动中没有违法记录，无利用不正当竞争手段骗取中标，无行贿犯罪记录；

To participate in the bidding activities before three years, the bidder does not break the record in business activities, no using to defraud the bidding by means of unfair competition, no bribery crime record.

是否接受联合体投标：不接受

Joint Bids：NOT Available

未领购招标文件是否可以参加投标：不可以

Bid without the bidding documents：NOT Available

4. 招标文件的获取

Acquisition of Bidding Documents

招标文件领购开始时间：2022年12月15日

Beginning of Selling Bidding Documents: 2022-12-15

招标文件领购结束时间：2022年12月22日

Ending of Selling Bidding Documents: 2022-12-22

招标文件领购地点/电子下载方式：电子下载

To Obtain：On-line Download

招标文件售价：每套￥800/$120

Price of Bidding Documents: ￥800/$120

其他说明：2022年12月15日～ 2022年12月22日上午：9:00 ～ 11:00，下午：13:00 ～ 16:00（节假日除外） 备注：未领购招标文件的供应商不得参加投标。招标文件发售期截止后，购买招标文件的潜在投标人少于3个的，招标人可以依法重新招标

Additional Instructions：Date for purchasing bid document: 2022-12-15—2022-12-22   9:00 ～ 11:00AM, 13:00 ～ 16:00PM (excluding holidays) Remarks: The supplier without purchasing the bidding documents shall not participate in bidding. After deadline of bidding documents sale time, if the Tender offer who bought the bidding documents less than 3, the bidder can rebid according to law.

报名须提交的下述资料:

Registration required to submit the following information

- 单位负责人委托书

Tax Registration Certificate

- 被授权代表身份证

ID Card of the Agent

注： 供应商可关注“中世建咨”微信公众号，主界面右下角点击“投标报名”完成微信报名登记。

Suppliers can pay attention to "China World Construction Consulting" WeChat WeChat official account, and click "Bidding Registration" in the lower right corner of the main interface to complete WeChat registration.

5. 投标文件的递交

Bid Submission

投标截止时间（开标时间）：2023年1月5日上午10时30分(北京时间)

Deadline for submitting bids(Time of bid opening):10: 30AM Jan. 5 .2023(Beijing time)

投标文件送达地点：上海市曹杨路528弄35号中世办公楼2楼会议室

2F Meeting Room Zhongshi Office Building No.35 Lane 528 Caoyang Road, Shanghai

开标地点：上海市曹杨路528弄35号中世办公楼2楼会议室

2F Meeting Room Zhongshi Office Building No.35 Lane 528 Caoyang Road, Shanghai

6. 投标人在投标前需在机电产品招标投标电子交易平台上完成注册。评标结果将在机电产品招标投标电子交易平台公示。

The evaluation results will be released on www.chinabidding.com

7. 联系方式

Contact Details:

招标人：东华大学

Bid Inviter: Donghua University

地址：中国上海市延安西路1882号

Address: NO.1882 Yan’an West Road, China

联系人：汤老师

Contact Person: Tang teacher

联系方式：	021-67798733

Telephone: 	021-67798733

招标代理机构：上海中世建设咨询有限公司

Bid Inviting Agency: SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD.

地址：上海市曹杨路528弄35号

Address: No.35 Lane 528 Caoyang Road, Shanghai

联系人：沈思骏、侯烨飞、陆丁苑

Contact Person: Shen SiJun、Hou yefei、Lu DingYue

联系方式：021-52555817

Telephone: 021-52555817

8. 汇款方式

Remittance Approach

招标代理机构开户银行（人民币）：上海银行愚园路支行

Bank(RMB): Bank of Shanghai, Yuyuan Road Sub-branch

招标代理机构开户银行（美元）：上海银行长宁支行

Bank(USD): BANK OF SHANGHAI

帐 号（人民币）：31641800003023916

Account NO.(RMB): 31641800003023916

帐 号（美　元）：3164631405000272107

Account NO. (USD): 3164631405000272107

其他：SWIFT CODE：BOSHCNSHXXX

公司地址：曹杨路528弄35号（NO.35,LANE 528,CAOYANG ROAD）

9.其他事项： /

Other matters ：/

第六章 投标人须知及投标资料表

Section 6 Instructions to Bidders & Bid Data Sheet

本表关于要采购的货物的具体资料是对第一册第一章投标人须知的具体补充和修改，如有矛盾，应以本资料表为准。

Specific information in this sheet for goods to be procured complements or modifies the Instructions to Bidders in Volume One Section 1. In case of any contradictions, this Bid Data Sheet shall govern.

| 条款号 | 内 容 |
| --- | --- |
| 说 明 |  |
| 1.2 | 招标人名称：东华大学 Name of bid inviter: Donghua University 地址：中国上海市延安西路1882号 Address: NO.1882 Yan’an West Road, China 联系人：汤老师 Contact Person: Tang teacher 联系方式：021-67798733 Telephone：021-67798733 招标机构名称：上海中世建设咨询有限公司 Bid Inviting Agency: SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD. 地 址：上海市曹杨路528弄35号2楼 Address: 2F, No.35 Lane 528 Caoyang Road, Shanghai 电 话：021-52555817、62445303 Telephone: 021-52555817、62445303 传 真：021-62446678 Fax: 021-62446678 联系人：沈思骏、侯烨飞、陆丁苑 Contact Person: Shen SiJun、Hou yefei、Lu DingYue 电子邮件：shensijun@cwcc.net.cn Email: shensijun@cwcc.net.cn |
| 1.3 | 项目概况：用于教学研究等。 Overview： For teaching and research. 资金性质: 财政性资金 Funds：Fiscal capital 稳态瞬态荧光光谱仪 Steady state transient fluorescence spectrometer. 预算金额：人民币180万元整，超过预算的投标报报价视为无效投标。Budget: RMB1800000 in total. The bid price exceeding the budget will be rejected as invalid bidding. 若最终结算时由于汇率波动，导致实际结算人民币超过采购预算的，超过部分由投标人承担。 In case of fluctuation of exchange rate at final settlement, and actually settled RMB amount exceeds the budget, the excessive part will be borne by the bidder. 注：因投标保证金递交、退回过程中可能产生的相关费用（如手续费）均由投标人自理。 Note：submitted for bid bond the return April be produced in the process of relevant expenses(such as fees)all provide for oneself by the bidder. |
| 1. | 合同名称：稳态瞬态荧光光谱仪 Contract Name：Steady state transient fluorescence spectrometer. |
| 2.2 1) | 合格货源国限制：凡是来自中华人民共和国或是与中华人民共和国有正常贸易往来的国家或地区的供货人均可投标 Restriction of eligible countries of origin: This invitation for bids is open to all suppliers from within the People’s Republic of China and all countries/areas which have regular trade relations with the People’s Republic of China. |
| 8. | 投标语言：中文或者中文和英文（当两种语言之间存在不一致时，以中文为准，所有外文文件均应提供中文翻译件）。 Language of bid: In Chinese or in English and Chinese (when not consistent between the two languages, in Chinese shall prevail, all foreign language documents shall provide for the Chinese translation) |
| *10.3 | 本项目只允许投标人提供一个投标方案，否则，其投标将被否决。 This project is only allowed the bidder to provided a bid proposal, otherwise, the bid will be rejected. |
| 11.2 | 报价缺漏项范围或比重：投标人的报价不应有缺漏项（含漏报或报零）。如有缺漏项，在授标时将被认为已包含在其他已报明价格的项目中（即合同价格将不予增加），但在评标时将把其他有效标中的该项最高报价计入该投标人的评标价格之中。投标人因报价缺漏项所导致的最大允许加价幅度为其经核准的投标价格（系指对可能存在的算术计算错误、折扣或涨价声明以及暂估价和暂列金额进行了纠正、考虑和扣除之后的投标价格，下同）的百分之五（5%），超过这一比例时，将对其投标直接作否决处理。 Offer omissions item scope or specific gravity: the quotation of the bidder shall not have gaps (including omissions or zero). If there are any omissions item, when an'd will be deemed to have included in the other project has to report the price increase (i.e., the contract price will not be), but in the bid evaluation will take other effective standard of the highest price is included in the bidder's bid evaluation price. Item by bidders bid gaps caused by the maximum allowable mark-up on approved for its bid price (refers to the possible existence of arithmetic calculation error, the discount or price declaration and temporary appraisal and for the correct, consider and deduct the amount after the bid price, the same below) of five percent (5%), more than the proportion, will be treated as its bid directly to veto. |
| 投 标 报 价 和 货 币 |  |
| *11.4 | 不接受选择性报价或者具有附加条件的报价。选择性报价或者具有附加条件的报价将导致废标。 Alternative bid is not permitted and bid price with additional conditions will not be accepted. Alternative bid or bid price with additional conditions will result in abandoned. |
| 11.5 | 项目名称：东华大学稳态瞬态荧光光谱仪采购项目 Project name：Donghua University Steady state transient fluorescence spectrometer procurement project. 最高投标限价：人民币180万元整。 The highest bidding price: RMB1800000. 注：投标人报价超过投标限价金额的将不予接受，其投标文件将被否决。 Note: bidders bid amount exceeds bid price will not be accepted, the bid documents will be rejected. |
| *11.6.1 | 从中华人民共和国关境内提供的货物 /for goods offered within customs territory of PRC： 1）关境内制造的货物/ for manufactured Goods of the customs territory of PRC ① *出厂价（包括主机和标准附件及质保期内的备品备件价格）/ EXW（Including the cost of the Basic Machine and Standard Accessories, spare parts during the warranty period.） ② 提供货物运至最终目的地的关境内运输、保险和伴随货物交运的有关费用；请单独报价并计入投标总价；/ The Bidder shall provide the price of inland transportation, insurance, and other local costs incidental to delivery of the goods to their final destination. This price shall be included in the Total Bid Price. ③ 其他伴随服务费用：包括专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费。/ The price of other incidental services: including the cost of cost of special tools, cost of training, cost of technical service; other costs of incidental services related to implement the contract. 2）投标截止时间前已经进口的货物/The goods has been imported before the deadline for submission of bids ① *仓库交货价（包括主机和标准附件及质保期内的备品备件价格） / EX-Warehouse（Including the cost of the Basic Machine and Standard Accessories, spare parts during the warranty period.） ② 提供货物运至最终目的地的关境内运输、保险和伴随货物交运的有关费用；请单独报价并计入投标总价；/ The Bidder shall provide the price of inland transportation, insurance, and other local costs incidental to delivery of the goods to their final destination. This price shall be included in the Total Bid Price. ③ 其他伴随服务费用：包括专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费。/ The price of other incidental services: including the cost of cost of special tools, cost of training, cost of technical service; other costs of incidental services related to implement the contract. |
| *11.6.2 | 从中华人民共和国境外提供的货物/ for goods offered from abroad ： 1）* CIP上海（运输和保险至东华大学松江校区指定地点并完成装卸）（包括主机和标准附件及质保期内的备品备件价格） / CIP Shanghai (Transport and Insurance to Songjiang Campus of Donghua University and complete loading and unloading)（Including the cost of the Basic Machine and Standard Accessories, spare parts during the warranty period.） 2）其他伴随服务费用：包括专用工具费、培训费、技术服务费及其他与执行本合同相关的伴随服务费。/ The price of other incidental services: including the cost of cost of special tools, cost of training, cost of technical service; other costs of incidental services related to implement the contract. 3) 提供货物从进口口岸运至最终目的地的关境内运输、保险和伴随货物交运的有关费用，请单独报价并计入投标总价 / Please quote separately and include in the total bid price the expenses of transportation, insurance and accompanying delivery of the goods from the import port to the final destination 投标报价（进口免税货物）：投标响应报价必须报进口免税价。进口免税价须包含CIP上海（运输和保险至东华大学松江校区指定地点并完成装卸，包括主机和标准附件及质保期内的备品备件价格），除进口关税和进口增值税外的全部费用，并包含进口代理服务费、进口环节代垫费用（按实结算），安装、调试、培训和检测等的全部费用。进口代理公司由东华大学指定。 2、指定进口代理公司服务收费标准： 档列; 进口货物金额（万元）; 代理费标准（%）. 1; 最低服务费; 1000元. 2; 100以下（含）; 0.6. 3; 100-500（含）; 0.4. 4; 500以上; 0.3. 可能涉及到进口环节代垫费用由进口代理公司先垫付，最后由中标供货商按实际支付给进口代理公司：包括银行费、报关费、卫检费、动植物检验检疫费、商检费、仓储费、运杂费等费用。 本次报价应不含进口环节税（除下述情况外） this bid price shall exclude import duties 投标文件须提供所投报产品的详细配置清单 （对于符合国务院关税税则委员会规定原产于美国的产品加征关税要求的，报关产生的税费由中标人承担，并计入投标总价。） |
| 11.9 | 投标报价性质：投标人如果中标，其经核准的投标价格在合同执行过程中是固定不变的，不得以任何理由予以变更。 Properties: if the winning bidders bid price quotations, its approved bid price in the execution of a contract is fixed, replace it with any reason. |
| 12.1 | 投标货币（从中华人民共和国关境内提供的货物和服务）：人民币 /Bid Currencies (for goods and services from within PRC) ：CNY |
| 12.2 | 投标货币（从中华人民共和国关境外提供的货物和服务）：美元或其它国际流通货币 / Bid Currencies (for goods and services from abroad) ：USD or other international circulation currencies |
| 投 标 书 的 编 制 和 递 交 |  |
| *13.1 | 本项目不接受联合体投标。 Joint Bid is not available in this project. |
| 13.3 5) | 合格投标人的资格要求及其证明文件： Qualified bidders of eligibility requirements and documents: - 投标人或制造商（如适用）有效的营业执照 A bidder or manufacturer (if applicable) and effective business license - 经销商投标需提供制造商或国内总代理授权函（格式见招标文件第一册附表） Manufacturer’s Letter of Authorization when dealers participate in the bid (the format is subject to the attached form in Volume One of Bidding Document) - 单位负责人委托书 Power of Attorney of Legal Representative 4. 被授权代表身份证 ID Card of the Agent |
| *15.1 | 投标保证金金额：人民币30000元整 Amount of bid security: RMB 30000 保证金有效期应与投标有效期一致。 The period of validity of bid security is in consistent with that of bid. 保证金递交截止时间：同投标截止时间（开标时间），以保证金实际到账为准。 Deadline of submitting bid security: With the tender deadline, the bid opening time, subject to the arrival time of bid security 递交地点：上海曹杨路528弄35号中世办公楼 Place of delivery: Zhongshi Office Building No.35 Lane 528 Caoyang Road, Shanghai 递交方式：银行保函（投标保证金银行保函格式必须与招标文件第一册附件提供的格式一致，不得有任何偏差，否则作废标处理）、转账、汇款、支票或代理单位接受的其他方式。 Submitting method: Bank guarantee (the format of bank guarantee of bid security must be consistent with the format provided in the annex of Volume One in Bidding Document, and no bias shall exist, otherwise it shall be regarded as abandoned bid), transfer, remittance, check or other methods accepted by agents. 为确保保证金在递交截止时间前到账，通过转账、汇款、支票方式递交保证金的投标人，应在投标截止日前完成保证金支付，保证金有效期应与投标有效期一致。 To ensure the bid security arrives before the deadline of submitting, bidders submitting bid security through transfer, remittance and check shall finish the payment of bid security before the deadline (excluding weekends and holidays), and the period of validity of bid security shall be consistent with that of bid. 投标保证金汇款账号（人民币）： Remittance Account of bid security（RMB）: 户 名：上海中世建设咨询有限公司（专项帐户） Account Name: SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD. (special account) 开户银行：上海银行愚园路支行 Bank: Bank of Shanghai Yuyuan Road Sub-branch 帐 号：31641803001602577 Account No.: 31641803001602577 美元账号/ Account NO. (USD)： 招标代理机构开户银行（美元）：上海银行长宁支行 Bank(USD): BANK OF SHANGHAI 帐号（美元）/Account NO. (USD)：3164631405000272107 SWIFT CODE：BOSHCNSHXXX 公司地址：曹杨路528弄35号（NO.35,LANE 528,CAOYANG ROAD） 注：因投标保证金递交、退回过程中可能产生的相关费用（如手续费）均由投标人自理。 Note: submitted for bid bond, the return April be produced in the process of relevant expenses (such as fees) all provide for oneself by the bidder. |
| 16.1 | 投标有效期/Period of Validity of Bids： 投标应自提交投标文件的截止之日起 90 日内保持有效。 / Bids shall remain valid for the period of 90 days from the Deadline for Submitting Bids. |
| 17.1 | 投标文件的份数/ Number of Bid：正本 1 份，副本 4 份/ One original and four copies.。 投标人应提供投标文件全部内容的电子文档 1 份，其内容应与纸质投标文件一致（其中：制造商或国内总代理对本项目授权函、分项报价表及报价清单文件须为单独的扫描件），光盘应单独或随投标文件一并密封。 The bidder shall provide all the bid documents 1 content of electronic document, its content should be consistent with paper bidding documents (including: manufacturer or domestic general agent authorization letter, the project breakdown quotation sheet and quotation must be a separate listing file scanning), CD alone or together with the tender documents should be sealed. |
| *17.2 | *投标文件的每一页都应由法定代表人或其授权代表用姓或首字母签字。/ Each page of the bid shall be initialed by the legal representative or a person or persons duly authoreized to bind the bidder. |
| 18.2 1) | 投标书递交至：上海中世建设咨询有限公司 上海市曹杨路528弄35号中世办公楼2楼会议室 Bid shall be delivered to: SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD.2F Meeting Room Zhongshi Office Building No.35 Lane 528 Caoyang Road, Shanghai 如采用挂号信或快递方式提交投标文件，在投标文件的外层信封上应清晰地注明下列信息： Submit the bid documents, if use registered mail or Courier in the outer envelope of the bid documents shall be clearly marked with the following information: （1）邮政编码：200063 zip code: 200063 （2）收件地址：中国上海市曹杨路528弄35号中世办公楼上海中世建设咨询有限公司 address: Shanghai cao Yang, lane 528, 35 of the office building in SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD. （3）收件人：本资料表第1.2条注明的联系人 the recipient: this data sheet article 1.2 indicate the contacts 采用挂号信或快递方式提交投标文件的，提交时间以收件人签收时间为准。投标人不派授权代表参加开标仪式的，视为其默认开标结果，且对整个开标过程无异议。 Submit the bid documents by registered mail or Courier to submit time will be subject to the recipient to sign for the time. Bidder is not authorized representatives to participate in the bid opening ceremony, as its default bid opening results, and for the whole of the bid opening process. |
| 18.2 2) | 招标邀请的标题和编号： Title and number of bid invitation: 招标项目名称：东华大学稳态瞬态荧光光谱仪采购项目 Project Name：Donghua University Steady state transient fluorescence spectrometer procurement project 招标编号：1069-224Z20224556 Bid No. 1069-224Z20224556 注明“在2023年1月5日上午10时30分（北京时间）之前不得启封”字样 Marked with “Don’t open before 10: 30 AM Jan. 5. 2023 (Beijing time)” |
| *19.1 | 投标截止期：2023年1月5日上午10时30分(北京时间) Deadline for submitting bids: 10: 30 AM Jan. 5. 2023 (Beijing time) |
| 22.1 | 开标日期：2023年1月5日上午10时30分(北京时间) Time of bid opening: 10: 30 AM Jan. 5. 2023 (Beijing time) 地 点：上海中世建设咨询有限公司SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD. 上海市曹杨路528弄35号中世办公楼2楼会议室 2F Meeting Room Zhongshi Office Building No.35 Lane 528 Caoyang Road, Shanghai 唱标价格：当唱标价格与标书中对应的报价不符时，以唱标价格为准。 Price of bid announcement: when the price of bid announcement has any discrepancy with the corresponding quotation in the bid document, the former shall prevail. |
| 评 标 |  |
| 23.1 | 本次招标的评标方法/ Evaluation Method：最低评标价法/ Lowest evaluated price method. |
| 24.5.2 | 技术评议过程中，有下列情况之一者，其投标将被否决。 2）一般技术条款超出允许偏离的最大范围 5 %或超出允许偏离的最多项数 3 项的。 / The bid will be rejected, if it is found having any of the following during the technical evaluation: 2）The deviations of the bid to the Technical Specifications without the mark of asterisk (*) which are not key ones, have exceeded the maximum range 5 % or the maximum deviation items 3 . |
| 25. | 为了便于评标和比较，如果投标报价中有多种货币，以开标当日中国银行总行首次发布的外币对人民币的现汇卖出价进行投标货币对投标资料表中规定的评标货币的转换，以便计算评标价。美元为本次招标的评标货币。 To facilitate evaluation and comparison, if the bid quotation gas multiple currencies, the bid inviting agency shall convert all bid prices expressed in the amounts in different currencies at the selling exchange rate published by the parent bank of Bank of China for the first time on the date of bid opening. USD is the evaluation currency for this bid. |
| 26.4 | 根据本须知第26.3条的规定，对本投标资料表中选定的第1）～8）款评标因素，采用量化方法调整评标价格。 / For factor 1）～8） retained in this Bid Data Sheet pursuant to ITB Clause 26.3, quantification methods will be applied, as detailed in the Bid Data Sheet. |
| 26.4.1 | 内陆运输和保险 Inland Transportation & Insurance 投标人应提供：货物包装数量以及每件包装箱的尺寸和运输重量。 Bidders shall provide the packaging quantity of goods, dimension of each packaging box and the transportation weight. |
| 26.4.2 | 交货时间：签订合同后5个月 Date of delivery: 5 months after signing the contract 所选方案：26.4.2 (1) Chosen plan: 26.4.2 (1) 调整用的百分比（%）：1% Percentage for adjustment (%): 1% |
| *26.4.3 | 付款条件：不允许偏离，任何偏离将导致投标被否决。 / Deviation in payment schedule：No deviation is allowed. Any deviation will result the bid be rejected. |
| 26.4.4 | 零部件和备品备件的费用 / Cost of components and spare parts:： 1) 投标人应提供货物质保期内运行所需的零部件和备品备件的费用，并计入投标总价；如漏报，评标时将其它有效标中该项的最高价计入其评标总价。 / The Bidder shall provide a list with price of components and spare parts during the warranty period, and sum them to the total price. If any missing, the highest price of the same item in other effective tenders will be adopted into the total price of the evaluated price. |
| 26.4.5 | 中国关境内的备件供应和售后服务设施：/ Spare parts and after sales service facilities in the PRC: 投标人在中国关境内应有维修服务设施和零部件库存，如没有，应提出相应的售后服务方案及费用，评标时计入评标价中。否则评标价上浮1%。 / The Bidder must have after-sale service facilities and spare parts in store in PRC. If haven’t, should provide the related plan and cost, this cost shall be added to the bid price. Otherwise, the evaluated price will rise 1 %. |
| 26.4.6 | 投标设备的预计运行和维护费用：不适用。 /Operating and maintenance costs: Not applicable. |
| 26.4.7 | 投标设备的性能和生产率：不适用。 Performance and productivity of the equipment: Not applicable. |
| 26.4.8 | 其他额外的评标因素和标准： Other additional factors and criteria: 除本资料表第第10.3条、第26.4.1～26.4.5条以及本资料表“适用于本次招标的额外增加的变动”部分所明确的将导致投标文件被否决的判定条件及标准外，在此对有关法律、法规、规章和本招标文件第一章投标人须知中所规定的将导致投标文件被否决的其他判定条件及标准一并汇总、说明如下： In addition to the data sheet of the first article 10.3, the first 26.4.1 ~ 26.4.5 article and the data table "applies to the tendering of additional changes" part clear will lead to the bid documents were rejected by the determination conditions and standards, in this to the relevant laws, regulations, rules and defined in the first chapter of this tender document requirements bidders will result in rejection of his bid documents of other decision summary, description, along with all the conditions and standards is as follows: （1）主要商务要求 (1) the main business requirements 投标人在其投标文件中必须对本款所列的主要商务要求作出实质性响应，如评标委员会在商务评议过程中，发现投标人、投标货物制造商或投标文件存在下列任一情况，其投标将被否决： The bidder in its bid documents must this paragraph to substantive response to the requirements listed in the main business, such as in the business review process, the bid assessment committee found that bidders, bidding the presence of any of the following goods manufacturers or the tender documents, the bid will be rejected: （a）投标人或其制造商与招标人有利害关系可能影响招标公正性的； (a) a bidder or its manufacturer and has a stake in the tenderer April affect bidding impartiality; （b）投标人参与项目前期咨询或招标文件编制的； (b) the bidder to participate in the early stage of the project consulting or tender documentation; （c）不同投标人单位负责人为同一人或者存在控股、管理关系的； (c) different bidders, head of the unit for the same person or holding, management relations; （d）投标人有串通投标、弄虚作假、行贿等违法行为的； (d) the bidder collusion, fraud, bribery and other illegal ACTS; （e）投标报价高于招标文件设定的最高投标限价的（当招标文件规定了最高投标限价或最高投标限价的计算方法）； (e) the bid is higher than the highest bidding price set in the tender documents (when the tender documents specifies the calculation method of the highest bidding price or bid price); （f）投标人身份不合格（包括不是来自中华人民共和国的正常贸易国；投标人或制造商与招标人、招标代理机构及相关咨询机构有任何关联；在法律上和财务上不独立、不是合法运作的法人或其他组织）； (f) a bidder status unqualified (including comes not from the normal trading nation of the People's Republic of China; the bidder or manufacturer with the tenderer and tendering agency unrelated and related consultancy; on the legal and financial independence, is not a legal person or other organization of legal operation. （g）未按招标文件第一册第四章格式IV-1填写和提交“投标书”； (g) not according to the bidding documents for the first fill in and submit the formats of the fourth chapter IV - 1 "tender"; （h）未按规定格式填写和提交各类分项报价表； (h) is not filled in according to the prescribed format and submit various breakdown quotation sheet; （i）投标有效期不足； (I) the bid validity; （j）投标人未提交投标保证金、投标保证金的金额不足、投标保证金的币种不符合要求、未提交正本投标保函、投标保函的有效期不足、投标保证金的形式或者投标保函的开具银行或格式不符合招标文件第一章第15.1条和15.3条以及招标文件第四章格式IV-7的规定； (j) the bidder fails to submit the bid bond, bid security amount is insufficient, the currencies do not conform to the requirements of bid bond, did not submit the original bid guarantee, less than the period of validity of bid guarantee, the form of a deposit or bid guarantee issued by bank or format is not in conformity with the tender documents chapter 1 article 15.1 and article 15.3 and the provisions of the tender document format in the fourth chapter IV - 7. （k）投标文件无单位负责人签字，或签字人无单位负责人的有效授权书（单位负责人授权书格式见招标文件第四章格式IV-8）； (k), head of the bidding documents without unit to sign, signature or no unit leaders effective authorization (see unit authorization letter format, head of the tender documents format fourth chapter IV - 8). （l）投标文件未按规定签署（包括逐页小签）； (l) the bid documents signed not according to stipulations (including the page signed); （m）投标人（包括投标联合体的各成员）或制造商的资格或提交的资格证明文件不符合招标文件的要求。资格证明文件包括： (m) (including bidders bidding consortium members) or the manufacturer's qualification or submit the qualification file does not conform to the requirements of the tender documents. Qualification documents include: （i）资格声明（格式见招标文件第四章格式IV-9-1）； (I) qualification statement (see format in the bidding documents format fourth chapter IV - 9-1); （ii）制造商资格声明（格式见招标文件第四章格式IV-9-2）； (ii) manufacturer qualification statement (see format in the bidding documents format fourth chapter IV - 9-2); （iii）贸易公司（作为代理）的资格声明（格式见招标文件第四章格式IV-9-3，制造商直接投标时无需填写和提交该资格声明）； (iii) trading company (as agent) qualification statement (format as shown in the tender documents format of the fourth chapter IV - 9-3, manufacturers do not need to fill out and submit the qualification statement when direct bidding); （iv）制造商出具的授权函（格式见招标文件第四章格式IV-9-4，制造商直接投标时无需填写和提交该授权函，贸易公司（作为代理）或集成商投标时应按招标文件货物需求一览表和技术规格的要求提交相关设备制造商出具的授权函）； (iv) issued by the manufacturers authorization letter (format as shown in the tender documents format fourth chapter iv - 9-4, manufacturers directly do not need to fill out and submit the authorization letter, when bidding trading company (as agent) or integrators bid should be in accordance with the bidding documents when cargo demand schedule and the requirements of technical specification for submit the authorization letter) issued by the relevant equipment manufacturers. （v）证书（格式见招标文件第四章格式IV-9-5）； (v) certificate (see format in the bidding documents format fourth chapter IV - 9-5). （vi）银行资信证明（银行开具日期应在开标日前三个月之内）； (vi) bank reference (bank issue date should be within three months prior to the bid opening); （vii）投标产品制造商的同类产品销售合同或用户证明。 (vii) bid for the contract for the sale of similar products manufacturers or users. （n）超出经营范围投标； (n) beyond the business scope of bid; （o）承诺的质量保证期不符合招标文件的要求； (o) commitment to the quality guarantee period does not conform to the requirements of the bidding documents; （p）除本资料表第11.5条明确允许外，在投标文件中包含价格调整要求； (p) in addition to this data sheet article 11.5 explicitly allowed outside, in the tender documents contained in the price adjustment requirements; （q）承诺的仲裁机构、规则或地点与招标文件合同通用条款第32.2条不符； (q) commitment to the arbitration institution, rules, or place do not tally with the tender document contract article 32.2 of the general terms and conditions; （r）承诺的适用法律与招标文件合同通用条款第34条不符； (r) commitment of applicable law does not accord with contract general conditions article 34 tender documents; （s）投标人不接受评标委员会对其报价计算错误所作的更正； (s) a bidder does not accept the bid assessment committee to the quotation calculation error correction; （t）投标报价的币种不符合招标文件的规定或者所采用的报价方式将导致评标委员会无法按既定规则计算出其评标价格； (t) the currencies do not meet the conditions of the tender documents of bid price quotations or adopted by way of offer will lead to the bid assessment committee cannot be calculated according to the established rules its bid price; （u）因报价缺漏项所导致的评标价格加价幅度超过了最大允许比例； (u) caused by quotation omissions item bid evaluation price mark-up on more than the maximum permissible proportion; （v）在投标截止期前未在招标网（网址为：http://www.chinabidding.com）上完成有效注册； (v) in the bidding deadline is not in the tender nets (url: http://www.chinabidding.com) on effective registration; （w）有关法律、法规或规章明确规定的其他将导致投标文件被否决的情况。 (w), the provisions of other relevant laws, regulations or rules clear will result in rejection of his bid documents. （x）投标截止时间前被列入失信被执行人、重大税收违法案件当事人名单、政府采购严重违法失信行为记录名单及其他不符合《中华人民共和国政府采购法》第二十二条规定条件的供应商 （x）Bidding deadline was placed on the faithless person subjected to execution, major tax violations have client list, government procurement record list and other serious illegal faithless behavior does not accord with the law of the People's Republic of China government procurement law requirements specified in article 22 of the supplier. （2）技术标书的编制要求 (2) the establishment requirements of technical tender document 对于技术规格中加注星号（“*”）的主要技术要求，投标人在其投标文件中必须作出明确、具体的响应性说明（包括可能存在的正、负偏离情况），并提供相应的技术支持资料，否则其投标将被否决。上述技术支持资料以权威机构出具的认证证书（如通过3C认证的证书）或第三方检测机构出具的检测报告或投标货物制造商公开发布的印刷资料为准，若权威机构出具的认证证书或第三方检测机构出具的检测报告与投标货物制造商公开发布的印刷资料不一致，以权威机构出具的认证证书或第三方检测机构出具的检测报告为准。对于非标准和非通用的设备，投标人也可提供此前完成的类似项目的合同技术规格及最终的性能检验报告（应有用户代表签名）作为技术支持资料。上述技术支持资料只能用于印证投标人自称符合而实际不符合的情形，不能用于相反的印证。 For filling in the technical specifications an asterisk (" * "), the main technical requirements, the bidder in its bid documents must be made clear, specific response instructions (including the possible positive and negative deviation), and provide corresponding technical support information, otherwise the bid will be rejected. That the above information technology support the certificate issued by authorities, such as through the 3 c authentication certificate) or the third party inspection agencies inspection report issued by the public goods manufacturers of printing materials of tender shall prevail, or event issued by the authority certificate issued by the third party inspection agencies inspection report released with bidding goods manufacturers do not match the printing material, the certificate issued by authorities or inspection report issued by third party testing institutions. For non standard and the general equipment, the bidder can also provide similar projects previously completed contract technical specifications and the performance of the final inspection report (signed) shall have the user representatives as a technical support information. Can only be used to verify the bidder claims to comply with the above technical support data and does not conform to the actual situation, cannot be used instead. 如评标委员会在技术评议过程中，发现投标文件存在下列任一情况，其投标将被否决： If the bid assessment committee in the process of technology review, found that the presence of any of the following bid documents, the bid will be rejected: （a）投标文件不满足招标文件技术规格中加注星号（“*”）的主要技术要求（若有时），或加注星号（“*”）的主要技术要求无符合招标文件要求的技术资料支持的； (a) does not meet the bid documents in the bidding documents technical specifications filling an asterisk (" * "), the main technical requirements (if sometimes), or an asterisk (" * ") main technical requirements of the technical data to meet the requirements of the tender documents to support; （b）投标文件技术规格中一般技术要求超出允许偏离的最大范围或最多项数或累计的（若有时）； (b) the bid documents in general technical requirements in the technical specification is beyond the scope of allow deviation from the largest or most multiple number or cumulative if (sometimes); （c）投标文件技术规格中的响应与事实情况不符或虚假投标的； (c) response does not accord with the reality of technical specification bid documents or false bid; （d）投标人复制或照搬招标文件技术规格的相关部分内容作为其投标文件一部分的； (d) the bidder copied or copy the relevant technical specifications in the tender documents part as part of its bid documents; （e）招标文件技术规格中规定的其他可判定为非实质性响应的情况 (e) the tender documents specified in the technical specifications of other can be judged to be a substantive response to the situation |
| 26.5 | 中标候选人数量： 1家 The number of candidate winning bidders: 1 |
| 授 予 合 同 |  |
| 31.1 | 中标人确定方法：招标人将确定排名第一的中标候选人为中标人。排名第一的中标候选人放弃中标、因不可抗力不能履行合同、不按招标文件要求提交履约保证金，或者被查实存在影响中标结果的违法行为等情形，不符合中标条件的，招标人将按照评标委员会提出的中标候选人名单排序依次确定其他中标候选人为中标人，也可以重新招标。 The method to determine the winning bidder: the tenderer will be ranked the first candidate winning bidders for the winning bidder. The number one cause of the winning candidate gave up the bid, fails to fulfill the contract due to force majeure, not according to the requirements of the tender documents to submit the performance bond, or 'April influence the bidding result case such as illegal behavior, is not in conformity with the bidding condition, the tenderer will be ordered according to the candidate winning bidders list given by the bid assessment committee, in turn, other candidate winning bidders for the winning bidder is determined, can also be bidding again. |
| 36 | 本项目中标人与招标人签订合同后5天内，中标人一次性向招标代理单位支付服务费及增值税税费，计取标准如下： 服务费：中标人按中标金额100万以内部分1.5%，100-500万以内部分按1.1%,500-1000万以内部分按0.8%差额累计后下浮21.25%计取。 注：不足5000元的按5000元收取 |

适用于本投标人须知的额外增加的变动：无 Additional increased changes applicable to ITB: None

注：招标文件提问方式详见本项目“2014年版机电产品国际招标标准文件第一册”。

第七章 合同条款资料表

Section 7. Special Conditions of Contract

本章《合同专用条款》是对第二章《合同通用条款》的具体补充和修改，如有矛盾，应以本合同专用条款为准。

Special Conditions of Contract complements and modifies section 2. General Conditions of Contract. In case of contradictions, this Special Conditions of Contract shall govern.

| 条款号 | 内容 |
| --- | --- |
| 1 | 买方名称：东华大学 Name of purchaser: Donghua University 买方招标代理名称：上海中世建设咨询有限公司 Name of purchaser’s agent: SHANGHAI ZHONGSHI CONSTRUCTION CONSULTANTS CO., LTD. 卖方名称： Name of seller: 项目现场：CIP上海（运输和保险至东华大学松江校区指定地点并完成装卸） Project site: CIP Shanghai (Transport and Insurance to Songjiang Campus of Donghua University and complete loading and unloading) |
| 2 | 应提供的伴随服务： 1. 提供货物维修所需的工具； 2. 为所供货物的每一适当的单台设备提供详细的操作和维护手册； 3. 在双方商定的一定期限内对所供货物实施运行或监督或维护或修理，但前提条件是该服务并不能免除卖方在合同保证期内所承担的义务； 4. 在项目现场就所供货物的运行、维护和修理对买方人员进行培训。 Incidental Services to provide: 1. furnishing of tools required for maintenance of the supplied Goods; 2. furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods; 3. performance or supervision of maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and 4. training on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied Goods. |
| 3 | 要求的备件有：详见技术规格书 See Technical Specifications for required spare parts |
| 4 | 免费维修与更换缺陷部件的期限： 详见技术规格书 See Technical Specifications for required spare parts |
| 5 | 付款方法和条件为： Payment methods and terms: 采用100% L/C。见运单后支付90%，验收合格后支付10% Adopt 100% L/C. Pay 90% after seeing the waybill, and pay 10% after acceptance. |
| 6 | 买方通知地址：东华大学 Purchaser’s address of notification: Donghua University 卖方通知地址： Seller’s address of notification: |
| 7 | 互惠协议的标题是“中华人民共和国和 政府关于所得税和财产税避免双重征税和防止偷漏税的协定” The title of reciprocity agreement is “Agreement between the People’s Republic of China and the Government of ______ on the Avoidance of Double Taxation and Prevention of Fiscal Evasion with respect to Taxes on Income and Capital” |

第八章  货物需求一览表及技术规格

Section 8 Schedule of Requirements and Technical

货物需求一览表

Schedule of Requirements

| 序号 / No. | 货物名称 Name of gods | 数量 （台/套） Quantity (set) | 交货期 Date of delivery | 项目现场 Project site |
| --- | --- | --- | --- | --- |
| 1 | 稳态瞬态荧光光谱仪 Steady state transient fluorescence spectrometer | 1套/ 1 set | 签订合同后5个月 5 months after signing the contract | 买方指定地点 Purchaser designated locations |

技术规格

Technical Specifications

  - 投标人在准备投标书时，务必在所提供的商品的技术规格文件中，标明型号、商标名称、目录号。

When preparing bids, bidders must specify model, trade name and catalog number in the provided technical specifications of the goods.

1.2  投标人应按照招标文件要求提供货物的技术参数，并逐条标明满足与否。如与招标文件的技术参数或技术要求有偏差，应提供技术规格偏差的量值或说明（偏离表）。对未注明偏差的部分，买方有权认为其符合招标要求并要求投标人确认。如投标人有意隐瞒对规格要求的偏差或在开标后提出新的偏差，买方有权扣留其投标保证金或/并拒绝其投标。对带星号（“*”）的技术参数或技术要求必须在投标文件中提供技术支持资料，如：产品样本、产品说明书、图纸、公开发布的印刷资料、检测报告等，未提供的，评标时不予认可。

Bidders shall complete an item-by-item commentary on the satisfaction with the technical parameters of goods provided in accordance with bidding documents. If there is deviation from the technical parameters or technical requirements of bidding document, it shall provide the deviation value or explanation of technical specifications (deviation table). For the part failing to specify the deviation, the purchaser is entitled to regard it conforming to bidding requirements and ask bidder’s confirmation. If bidders intentionally conceal the deviation from specifications or puts forward new deviation after bid opening, the purchaser has the right to withhold its bid security and/ or reject its bid. Technical parameters or technical requirements marked with asterisk “*” must be provided with technical supporting information in the bid, such as product manual, instructions, drawing, published printing information, test report and etc.; for the failure of providing these information, it will not be recognized during bid evaluation.

1.3  投标人提供的产品样本，必须是“原件”而非复印件，图表、简图、电路图以及印刷电路板图等都应清晰易读。买方有权不付任何附加费用复制这些资料以供参考。

Bidders must provide original product manual, not photocopy, and charts, diagram, schematics and printed circuit board diagrams must be legible. The purchaser has the right to refuse to pay any additional expenses to copy these materials for reference.

  - 投标人应提供在设备保质期期满后的零配件供应清单和相应单价、以备采购人选择。

Bidders shall provide the supply list of parts after the expiry of shelf life and corresponding unit price for the choice of purchasers.

2、评标标准Standards of bid evaluation

2.1  除招标文件中指定的附件和专用工具外，投标人应提供仪器设备的正常运行和常规保养所需的全套标准附件、专用工具和消耗品。投标人在投标书中需列出这些附件和工具的数量和单价的清单，这些附件和工具的报价的总值需计入投标价中。

Except for the accessories and special tools designated in the bidding documents, bidders shall provide the whole set of standard accessories, special tools and consumables required by the normal function and routine maintenance of instrument and equipment. Bidders shall specify the list of quantity and unit price of accessories and tools in the bid, and the total value of these accessories and tools shall be calculated in bid price.

2.2  对于标书技术规范中已列出的作为查询选件的附件、零配件、专用工具和消耗品，投标书中应列明其数量、单价、总价供买方参考。投标人也可推荐买方没有要求的附件或专用工具作为选件，并列明其数量、单价、总价供买方参考。选件价格不计入评标价中。选件一旦为用户接受，其费用将加入合同价中。

For the accessories, special tools and consumables listed in the technical specifications of bid, the bid shall specify their quantity, unit price and total price for the reference of purchaser. Bidders April also recommend the accessories or special tools as optional parts that are not required by purchaser, and specify their quantity, unit price and total price for the reference of purchaser. The price of optional parts will not be included in bid evaluation price. Once the optional parts are accepted by users, their expenses will be added in contract price.

2.3  关于设备的安装调试，如果有必要的安装准备条件，卖方应在合同生效后二周内向买方提出详细的要求或计划。安装调试的费用应计入投标价中，并应单独列出，供评标使用。

For the installation and commission of equipment, if it has preparation conditions for necessary installation, the seller shall propose detailed requirements or plans to the purchaser. The expenses of installation and commission shall be included in the bid price and listed separately for bid evaluation.

2.4  对于需要人员培训的仪器、设备，招标文件中应注明。投标人提供的培训指的是涉及仪器设备的基本原理、操作使用和保养维修等有关内容的培训。培训费用需单独列出，供买方参考。

For the instrument and equipment requiring personnel training, the bidding document shall give clear indication. Training provided by bidders refers to the training on the contents related to the basic principles, operating instructions and maintenance of instruments and equipment. Training expenses shall be listed separately for the reference of the purchaser.

2.5  对于在用户所在地进行的培训，卖方培训人员的旅费、食宿费用等费用由卖方自理。

For the training conducted at the user’s site, the travel expenses and accommodation costs of seller’s trainee shall be borne by the seller.

2.6  对于需到制造厂家所在地进行的培训，招标文件中将注明培训日程和时间要求。受训人员的旅费、食宿费、培训场地费及培训资料费等培训费用均应由卖方支付。

For the training conducted at the location of manufacturer, the bidding documents will specify the training schedule and timing requirements. Training expenses of trainee’s travel expenses, accommodation expenses, training site cost and training material cost shall be borne by the seller.

2.5  在评标过程中，买方有权向投标人索取任何与评标有关的资料，投标人务必在接到此类要求后，在规定时间内予以答复。对于无答复的投标人，买方有权拒绝其投标。

During the bid evaluation, the purchaser has the right to ask for any information related to the bid evaluation from bidders, and bidders must respond to such requirements within the prescribed time after receiving these requirements. For bidders failing to respond to these requirements, the purchaser has the right to reject its bid.

3、工作条件Working conditions

除非在技术规格中另有说明，所有仪器、设备和系统都应符合下列要求：

Unless otherwise specified in the technical specifications, all the instruments, equipment and systems must comply with the following requirements:

3.1  适于在气温为摄氏－10℃～＋50℃和相对湿度为≤90％的环境条件下运输和贮存。

It is suitable for transportation and storage at the temperature between －10℃and ＋50℃, and under the ambient conditions of relative humidity of ≤90％.

3.2  适于在电源220V（10％）/50Hz、气温摄氏－5℃～＋40℃和相对湿度≤80％的环境条件下运行。仪器可连续使用。

It is suitable for the operation of power 220V（10％/50Hz, temperature －5℃～＋40℃ and relative humidity≤80％. The instrument can be used continuously.

3.3  配置符合中国有关标准要求的插头，如果没有这样的插头，则需提供适当的转换插座。

The configuration meets the plug conforming to related standard requirements of China; in case of no such plugs, appropriate change-over plug should be provided.

3.4  如产品达不到上述要求，投标人应注明其偏差。如仪器设备需要特殊工作条件（如水、电源、磁场强度、温度、湿度、动强度等）投标人应在投标书中加以说明。

If the product fails to meet the above requirements, bidders shall specify the deviation. If the instrument & equipment needs special operating conditions (such as water, power, strength in magnetic field, temperature, humidity, dynamic strength and etc.), bidders shall make statements in the bid

4、其它说明Other descriptions

4.1  技术规格如采用中英文文本，以中文内容为主，英文内容供参考。如有冲突，以中文版本为准。

If technical specifications are in Chinese and English, the Chinese contents shall prevail, and English contents are for reference. In case of conflicts, the Chinese version shall prevail.

4.2  对于具体技术规格中与本总则中要求不一致的地方，以具体技术规格中的要求为准。

For any discrepancy of requirements between the specific technical specification and the general provisions, the requirements in specific technical specification shall prevail.

具体设备技术需求

Specific Technical Requirements of Equipment

一、基本信息

I. Basic information

1）设备名称：稳态瞬态荧光光谱仪

1) Equipment name: Steady state transient fluorescence spectrometer.

2）数量：1套

2) Quantity: 1 set

3）用途：测试材料的荧光激发谱、发射谱、三维谱图，同步扫描光谱，荧光寿命、磷光谱图、磷光寿命、量子产率。光谱范围覆盖至近红外，并且可以测试原位变温过程中的光谱和寿命的变化

Purpose: testing fluorescence excitation spectrum, emission spectrum, three-dimensional spectrum, synchronous scanning spectrum, fluorescence lifetime, phosphorescence spectrum, phosphorescence lifetime, quantum yield of materials. The spectral range covers the near-infrared range, and can be used to test the spectral and lifetime changes during in situ temperature change

二、配置及技术指标

II, Configuration and technical indicators

1 主机要求

1 Host requirements

1.1 系统由光源、参比检测器、反射光路、样品架、单色仪、荧光检测器等部分组成

1.1 The system consists of light source, reference detector, reflection light path, sample rack, monochromator, fluorescence detector, etc

1.1 *全反射光学系统：包括灯室和样品仓，无透镜导致的色差；

1.1 * Total reflection optical system: including lamp chamber and sample chamber, without chromatic aberration caused by lens;

1.2 校正的激发光谱、发射光谱、三维光谱、同步扫描光谱、光度计定量

1.2 Corrected excitation spectrum, emission spectrum, three-dimensional spectrum, synchronous scanning spectrum, photometer quantification

1.3 *单波长动态扫描，多波长动态扫描

1.3 * Single wavelength dynamic scanning, multi wavelength dynamic scanning

1.4 光致发光绝对量子产率（粉末、薄膜和液体）

1.4 Absolute quantum yield of photoluminescence (powder, film and liquid)

1.5 测试对象：液体、粉末和薄膜

1.5 Test object: liquid, powder and film

1.6 *信噪比：35 000:1（FSD法，制冷型检测器，5nm带宽，1s响应时间，水拉曼信号，无滤光片辅助），要求验收使用一次采集水拉曼光谱数据，无重复扫描后的加和计算

1.6 * Signal to noise ratio: 35 000:1 (FSD method, 5nm bandwidth, 1s response time, water Raman signal, without filter assistance). It is required to collect water Raman spectrum data once for acceptance, without summation calculation after repeated scanning

1.7 比例荧光功能，动态扫描

1.7 Proportional fluorescence function, dynamic scanning

1.8 荧光寿命，磷光寿命、荧光磷光时间分辨发射谱

1.8 Fluorescence lifetime, phosphorescence lifetime, fluorescent phosphorescence time-resolved emission spectrum

1.9 *全波长范围具有延迟光谱功能，1μs起。

1.9 * Full wavelength range with delayed spectrum function, 1 μ S.

1.10 仪器软件支持采集数字Digital信号和模拟Analog信号，便于升级扩展功能

1.10 The instrument software supports the acquisition of digital digital signals and analog analog analog signals for easy upgrading and expansion of functions

1.11 滤光片组，带通不少于5片，长通不少于8片

1.11 The number of band-pass filters shall not be less than 5, and the number of band-pass filters shall not be less than 8

2 光谱仪

2 Spectrometer

2.1 Czerny-Turner式非对称设计，提供公开技术证明资料

2.1 Czerny Turner type asymmetric design, providing public technical supporting materials

2.2 三光栅塔轮结构，全软件控制转动

2.2 Three grating tower wheel structure, full software control rotation

2.3 光谱带宽：0-15nm 0.05nm 步进

2.3 Spectral bandwidth: 0-15nm 0.05nm step

2.4 波长准确度：±0.1nm

2.4 Wavelength accuracy: ± 0.1nm

2.5 波长重复性：±0.1nm

2.5 Wavelength repeatability: ± 0.1nm

2.6 *焦长不低于340mm

2.6 * Focal length not less than 340mm

3 紫外-可见检测器

3 Ultraviolet visible detector

3.1 检测器波长范围：185~900nm

3.1 Detector wavelength range: 185~900nm

3.2 光子计数模式

3.2 Photon counting mode

3.3 *稳态动力学扫描功能中，检测器采集速度：5μs/point，提供技术证明文件

3.3 * In the steady-state dynamic scanning function, the acquisition speed of the detector is 5 μ S/point, provide technical supporting documents

3.4 具有光子信号和模拟信号输出

3.4 With photon signal and analog signal output

4 近红外检测器

4 Near infrared detector

4.1 检测器波长范围：800~1700nm

4.1 Detector wavelength range: 800~1700nm

4.2 制冷温度：-196℃

4.2 Refrigeration temperature: - 196 ℃

4.3 开机稳定时间：≤ 5分钟

4.3 Startup stability time: ≤ 5 minutes

4.4 配合脉冲光源，寿命测试范围1μs~s

4.4 Cooperate with pulse light source, life test range 1 μ s~s

4.5 同一个检测器，满足稳瞬态功能，软件直接读取稳瞬态数据，无需示波器

4.5 The same detector meets the stable transient function. The software directly reads the stable transient data without oscilloscope

4.6 镀金反射检测器室，高反射效率

4.6 Gold plated reflection detector room, high reflection efficiency

4.7 具有磷光延迟光谱功能，直读采谱

4.7 It has the function of phosphorescent delay spectrum and can directly read the spectrum

5 样品仓

5 Sample bin

5.1 全反射设计，全波长范围准确聚焦，无透镜造成的色差

5.1 Total reflection design, accurate focusing in full wavelength range, and no chromatic aberration caused by lens

5.2 挡板式设计，避免灰尘或样品对光学部件的影响

5.2 Baffle design to avoid the impact of dust or samples on optical components.

6 附件

6 Attachments

6.1 固体样品支架

6.1 Solid sample holder

6.1.1 360可旋转，带角度刻度盘

6.1.1 360 rotatable with angle dial

6.1.2 前表面测量，保证样品前表面始终处于焦平面，无需前后调节样品支架位置

6.1.2 Measure the front surface to ensure that the front surface of the sample is always in the focal plane, without adjusting the position of the sample holder back and forth

6.1.3 卡槽式固定，无需额外工具，固体液体样品支架之间更换方便

6.1.3 Slot type fixation, no additional tools are required, and it is convenient to replace between solid and liquid sample supports.

6.2 绝对量子产率附件：积分球

6.2 Absolute quantum yield Annex: integrating sphere

6.2.1 测试对象：粉末、液体、薄膜

6.2.1 Test object: powder, liquid, film

6.2.2 包含CIE1931和1976色度分析软件

6.2.2 Including CIE1931 and 1976 chroma analysis software

6.2.3 内衬材料：聚四氟乙烯整体压制

6.2.3 Lining material: PTFE overall pressing

6.2.4 安装使用时，无光学部件调节，操作简便，避免测试重复性差，检测不到弱信号

6.2.4 During installation and use, there is no optical component adjustment, which is easy to operate, avoiding poor test repeatability and weak signal detection

6.2.5 底部装样，无需破坏球体结构进行装样，避免样品洒落造成球体内部污染

6.2.5 For bottom loading, it is unnecessary to damage the sphere structure for loading, so as to avoid internal pollution of the sphere caused by sample scattering

6.2.6 标配原装进口衰减片，不少于6片

6.2.6 At least 6 pieces of original imported attenuators are provided as standard

6.2.7 无需光纤耦合激光器，避免能量损失

6.2.7 Fiber coupling laser is not required to avoid energy loss.

7 荧光寿命部分

7 Fluorescence life

7.1 荧光寿命范围：<150ps~10µs（荧光寿命最大采集窗口时间100μs）

7.1 Fluorescence life range:<150ps~10 µ s (maximum acquisition window time of fluorescence life is 100 μ s）

7.2 数据采集模式：时间相关单光子计数；

7.2 Data acquisition mode;

7.3 寿命软件功能，寿命拟合指数：1~4指数，包含高级功能：FRET能量共振转移寿命分析、胶束猝灭寿命分析、Global/Batch指数分析

7.3 Life software function, life fitting index: 1~4 indexes, including advanced functions: FRET energy resonance transfer life analysis, micelle quenching life analysis, Global/Batch index analysis

7.4 Deadtime<10ns

7.4 Deadtime<10ns

8 皮秒级脉冲激光光源

8 picosecond pulsed laser source

8.1 宽波长范围（265-1310nm）脉冲寿命光源可选

8.1 Wide wavelength range (265-1310nm) pulse lifetime light source optional

8.2 波长285nm，375nm, 405nm,510nm（激光能量≥25pj/pulsed）

8.2 Wavelength 285nm, 375nm, 405nm, 510nm (laser energy ≥ 25pj/pulse)

8.3 *最大重复频率100MHz（LED型最大重复频率是20MHz）

8.3 * The maximum repetition rate is 100MHz (the maximum repetition rate of LED type is 20MHz)

8.4 根据测试时间窗口，软件自动控制脉冲频率，无需手动调节脉冲频率

8.4 According to the test time window, the software automatically controls the pulse frequency without manually adjusting the pulse frequency

9 磷光寿命光源部分

9 Phosphorescent life light source

9.1 闪烁光源：闪烁氙灯

9.1 Flashing light source: flashing xenon lamp

9.2 测试磷光寿命范围： 1µs-s

9.2 Test phosphorescent life range: 1 µ s-s

9.3 最大脉冲频率≥300Hz

9.3 Maximum pulse frequency ≥ 300Hz

9.4 光谱扫描功能：延迟光谱

9.4 Spectrum scanning function: delayed spectrum

9.5 *同时提供MCS和SSTD模式

9.5 * Both MCS and SSTD modes are provided

10 低温光学系统

10 Low temperature optical system

10.1 控温范围：77K-800K；免真空

10.1 Temperature control range: 77K-800K; Vacuum free

10.2 控温精度：≤0.1℃；

10.2 Temperature control accuracy: ≤ 0.1 ℃;

10.3 升温速率：0.1-50℃/min；

10.3 Temperature rise rate: 0.1-50 ℃/min;

10.4 温度设定：软件控制，可程控分段控温。

10.4 Temperature setting: software control, programmable sectional temperature control.

10.5 样品台直径：Ф22mm；光孔直径：2mm；台窗厚度：0.5mm；

10.5 Diameter of sample table: Ф 22mm； Diameter of polished hole: 2mm; Bench window thickness: 0.5mm;

10.6 配有气密接头，可外加换气系统控制样品环境；

10.6 It is equipped with airtight joint, and can add air exchange system to control sample environment;

11 控制器及软件功能

11 Controller and software functions

11.1 主流机型：Intel i7中央处理器，16G内存，硬盘450 GB，刻录机，23英寸液晶显示器，Windows 10操作系统，无线鼠标键盘

11.1 Mainstream models: Intel i7 CPU, 16G memory, 450 GB hard disk, recorder, 23 inch LCD, Windows 10 operating system, wireless mouse and keyboard

11.2 比例荧光动态扫描功能，多波长对动态光谱扫描：满足至少八对激发/发射-强度动态扫描

11.2 Proportional fluorescence dynamic scanning function, multi wavelength dynamic spectral scanning: at least eight pairs of excitation/emission intensity dynamic scanning

11.3 数据包括光谱、数据表及实验条件三部分

11.3 Data includes spectrum, data sheet and experimental conditions

11.4 可批量执行测试方法文件，可以暂停和继续测试过程；

11.4 The test method documents can be executed in batches, and the test process can be suspended and resumed;

11.5 标配钙离子浓度计算公式，自动绘制未知样品浓度

11.5 Standard calcium ion concentration calculation formula, automatically plotting the unknown sample concentration

11.6 配置常用荧光染料数据库或自定义染料波长测量

11.6 Configure common fluorescent dye database or customize dye wavelength measurement

11.7 参数设置：狭缝（带宽）和波长等参数在发射光谱、激发光谱等功能窗口中，同窗口即可设定完成，无需切换不同窗口设定，提供软件截图证明材料

11.7 Parameter setting: parameters such as slit (bandwidth) and wavelength can be set in the same window in the emission spectrum, excitation spectrum and other function windows, without switching between different windows. Software screenshots are provided to prove that

11.8 高级运算程序：单壁碳纳米管计算；色坐标计算；吸收计算，量子产率等多种定制化功能，以及提供计算所有FRET相关参数的专用模块。

11.8 Advanced calculation program: single wall carbon nanotube calculation; Color coordinate calculation; Absorption calculation, quantum yield and other customized functions, as well as special modules for calculating all FRET related parameters.

三、商务条款：

3、 Commercial terms:

3.1.质保期：提供1年的原厂整机免费保修，保修期自验收签字之日起计算。质保范围包括仪器整机和其所有附属配件。

3.1 Warranty period: The original complete machine shall be guaranteed free of charge for one year, and the warranty period shall be calculated from the date of acceptance and signature. The scope of warranty includes the whole instrument and all its accessories

3.2.交货期：签订合同后5个月

3.2. Delivery date: 5 months after signing the contract

3.3.付款方式：采用100%即期L/C。见运单后支付90%，验收合格后支付10%。

3.3. Payment method: Adopt 100% L/C. Pay 90% after seeing the waybill, and pay 10% after acceptance

3.4. *价格条件： CIP上海（运输和保险至东华大学松江校区指定地点并完成装卸）

3.4. * Price conditions: CIP Shanghai (transport and insurance to the designated place in Songjiang Campus of Donghua University and complete loading and unloading)

3.5列出未来5年的备品备件

3.5 List spare parts for the next 5 years

四.技术服务要求

4、 Technical service requirements

4.1、所提供的货物（包括主机、配件和耗材）是全新的，未使用的，是最新的版本型号，完全符合招标文件规定的质量和规格要求；

4.1. The goods provided (including the host, accessories and consumables) are brand new, unused, of the latest version, and fully comply with the quality and specification requirements specified in the bidding documents;

4.2、产品送到用户所在地后，在接到用户通知后两周内完成安装调试；

4.2 After the product is delivered to the user's location, the installation and commissioning shall be completed within two weeks after receiving the user's notice;

4.3、在用户所在地对用户进行一周以上的各项相关培训，培训内容包括：仪器的技术原理、使用说明和数据处理分析等。

4.3 Provide users with more than one week of relevant training at the user's location, including the technical principles, instructions for use, data processing and analysis of the instrument.

五、采购标的的验收标准

V. Acceptance criteria for procurement targets

1）*如验收达不到规定要求，采购人有权要求更换货物或拒绝付款，成交供应商若违约，采购人将依法追究相应法律责任。

1)* If the acceptance fails to meet the specified requirements, the purchaser has the right to request to replace the goods or refuse to pay. If the supplier breaches the contract, the purchaser will pursue the corresponding legal responsibilities according to law.